## Index
BYD HVM 11kWh MODBUS RTU MAPPINGS

General info: The BYD battery operates as a slave in the RTU network. It runs at 9600 baud rate. It has 15 as device ID. It does not follow the SunSpec standard, it has its own Modbus standard. See each page for the various registers needed in order to emulate a BYD HVM battery.

## 300
This register is periodically polled from inverter during idle state					Start address = 300 Quantity = 24
Holding register	Example Data Idle
1	0
2	0
3	128
4	450
5	10948
6	492
7	0
8	2503
9	0
10	0
11	2056
12	0
13	10
14	30
15	0
16	0
17	16
18	22595
19	0
20	0
21	13
22	52064
23	50
24	9900

## 401
This register is periodically read and written by inverter					Start address = 401 Quantity = 1
Holding register	Example write
1	255

## 1000
This register is periodically polled from inverter during idle state					Start address = 1000 Quantity = 100
Holding register	Example Data Idle
1	0
2	0
3	0
4	0
5	0
6	0
7	0
8	0
9	0
10	0
11	0
12	0
13	0
14	0
15	0
16	0
17	0
18	0
19	0
20	0
21	0
22	0
23	0
24	0
25	0
26	0
27	0
28	0
29	0
30	0
31	0
32	0
33	0
34	0
35	0
36	0
37	0
38	0
39	0
40	0
41	0
42	0
43	0
44	0
45	0
46	0
47	0
48	0
49	0
50	0
51	0
52	0
53	0
54	0
55	0
56	0
57	0
58	0
59	0
60	0
61	0
62	0
63	0
64	0
65	0
66	0
67	0
68	0
69	0
70	0
71	0
72	0
73	0
74	0
75	0
76	0
77	0
78	0
79	0
80	0
81	0
82	0
83	0
84	0
85	0
86	0
87	0
88	0
89	0
90	0
91	0
92	0
93	0
94	0
95	0
96	0
97	0
98	0
99	0
100	0